Review of Related Literature (RRL/s)

Local Literature

1. Off-Grid Electrification Using Renewable Energy in the Philippines: A Comprehensive Review (2024). Arizeo C. Salac; Jairus Dameanne C. Somera; Michael Tan Castro; Maricor Divinagracia-Luzadas; Louis Angelo M. Danao; Joey Duran Ocon. https://doi.org/10.3390/smartcities7030043 Many electrified Philippine off-grid areas still depend on diesel power plants, and supply is often limited to a few hours a day. A review of studies from 2012 to 2023 finds crowded technical and economic work on hybrid renewable systems, while environmental and socio-political factors are thinner and rarely tied to the technical papers. This thesis uses that diesel-dependent off-grid baseline as context for studying efficiency anomalies at Palawan NPC-SPUG plants.

2. A Backcasting Analysis toward a 100% Renewable Energy Transition by 2040 for Off-Grid Islands (2022). Khrisydel Rhea M. Supapo; Lorafe Lozano; Ian Dominic F. Tabañag; Edward M. Querikiol. https://doi.org/10.3390/en15134794 The study models diesel and hybrid pathways for three Palawan off-grid municipalities—Araceli, Balabac, and Cuyo—using load demand, generator operating hours, and techno-economic scenarios from business-as-usual diesel toward higher renewable shares. It fills the NPC-SPUG / Palawan diesel-operation literature slot by documenting how those island diesel plants run today and how load and operating hours frame efficiency monitoring.

3. Supplying not electrified islands with 100% renewable energy based micro grids: A geospatial and techno-economic analysis for the Philippines (2020). Paul Bertheau. https://doi.org/10.1016/j.energy.2020.117670 Across Philippine small-island grids, the paper reports diesel fuel efficiencies from about 0.26 to 0.83 L/kWh and site-specific diesel prices, then sizes 100% renewable microgrids against that diesel baseline. Those fuel-use figures support this thesis’s focus on diesel-genset efficiency anomalies rather than only on hybridization cost.

4. NPC Missionary Electrification Plan 2025–2029 (2025). National Power Corporation. Report. https://www.napocor.gov.ph/wp-content/uploads/Operations/NPC_Missionary_Electrification_Plan_2025-2029.pdf This National Power Corporation plan describes missionary/off-grid supply strategy, NPC-SPUG area coverage, and diesel-based operations that remain central where new power providers are not yet in place. It situates Palawan NPC-SPUG diesel plants inside the official missionary-electrification operating frame this thesis studies.

5. Electricity Supply Interruptions in the Philippines: Characteristics, Trends, Causes (2022). Kris A. Francisco. Report (PIDS Discussion Paper). https://doi.org/10.62986/dp2022.48 Using electric-cooperative Monthly Interruption Reports to NEA, the paper quantifies interruption frequency and duration and groups causes into environment, supply, technical, and other classes for 2015–2021. Those outage and technical-failure patterns motivate linking diesel efficiency anomalies to fault- and interruption-linked behavior in Philippine off-grid plants.

Review of Related Literature (RRL/s)

Foreign Literature

6. Fast RobustSTL: Efficient and Robust Seasonal-Trend Decomposition for Time Series with Complex Patterns (2020). Qingsong Wen; Zhe Zhang; Li Yan; Liang Sun. https://doi.org/10.1145/3394486.3403271 The paper extends RobustSTL so seasonal-trend decomposition can handle more than one seasonal cycle and run faster, using a generalized ADMM method. It treats trend, seasonality, outliers, and noise as parts that should be separated before anomaly detection. This thesis adopts that RobustSTL-family decomposition as the seasonal-trend front end before generalized ESD testing on genset efficiency residuals.

7. Practice for Application of Generalized Extreme Studentized Deviate (GESD) Technique to Simultaneously Identify Multiple Outliers in a Data Set (2022). ASTM D02 Committee. https://doi.org/10.1520/d7915-22 This standard states how to apply the generalized extreme Studentized deviate procedure to flag up to a preset number of outliers in one pass, without deciding beforehand where those outliers sit. It is the procedural reference for the generalized ESD step this thesis applies to RobustSTL residuals.

8. OneShotSTL: One-Shot Seasonal-Trend Decomposition For Online Time Series Anomaly Detection And Forecasting (2023). Xiao He; Ye Li; Jian Rong Tan; Bin Wu; Feifei Li. https://doi.org/10.14778/3583140.3583155 The paper presents an online seasonal-trend decomposition whose update cost is constant time, for anomaly detection and forecasting. On benchmark series it is far faster than batch decomposition, with similar accuracy. It shows that STL-style remainder extraction remains a practical route to anomaly flags, which this thesis follows in a RobustSTL plus generalized ESD pipeline.

9. RobustTAD: Robust Time Series Anomaly Detection via Decomposition and Convolutional Neural Networks (2020). Jingkun Gao; Xiaomin Song; Qingsong Wen; Pichao Wang; Liang Sun; Huan Xu. https://doi.org/10.48550/arxiv.2002.09545 The framework first applies RobustSTL-style seasonal-trend decomposition, then feeds the components to a convolutional network for anomaly detection. It supports this thesis’s method choice by showing decomposition-before-detection as a robust pattern for seasonal power-related series, even when the final detector differs from generalized ESD.

10. Advanced Diagnostic Techniques for Fault Detection and Maintenance in Diesel Generators: Integration of AI and Multimodal Sensing (2025). Mina Goodarzi; Abdollah Abbasi. https://doi.org/10.1155/vib/6278046 A review of diesel-generator faults and of diagnostic methods that combine vibration, sound, temperature, and exhaust sensing with machine-learning models. It frames fault-linked genset behavior as a diagnostic target, which this thesis approaches through efficiency time-series anomalies rather than multimodal sensors.

Review of Related Studies (RRS/s)

Local Studies

11. Transition pathways to 100 % renewable energy in 208 island mini-grids in the Philippines (2024). Michael Tan Castro; Laurence L. Delina; Joey Duran Ocon. https://doi.org/10.1016/j.esr.2024.101315 The study collects generation and consumption data for 208 Philippine island mini-grids and simulates a path from the 2020 diesel-based system toward high renewable shares by 2050. This thesis draws on that NPC-SPUG diesel mini-grid operating context when framing efficiency and fuel-linked anomalies in missionary plants.

12. Decentralized versus Clustered Microgrids: An Energy Systems Study for Reliable Off-Grid Electrification of Small Islands (2020). Olivia Francesca B. Agua; Robert Joseph A. Basilio; Mc Erschad D. Pabillan; Michael Tan Castro; Philipp Blechinger; Joey Duran Ocon. https://doi.org/10.3390/en13174454 Using HOMER Pro, the study compares standalone and interconnected hybrid microgrids of solar, batteries, and diesel for the Polillo islands. It shows how diesel units remain the reliability backbone in Philippine off-grid designs that this thesis monitors for efficiency anomalies.

13. Balancing Energy Trilemma Using Hybrid Distributed Rooftop Solar PV (DRSP)/Battery/Diesel Microgrid: A Case Study in Gilutongan Island, Cordova, Cebu, Philippines (2021). Jaybee Lacea; Edward M. Querikiol; Evelyn B. Taboada. https://doi.org/10.3390/en14217358 The study designs a rooftop-solar, battery, and diesel microgrid for 11 households on Gilutongan Island and scores reliability, cost, and emissions with PVSyst and HOMER Pro. Diesel remains part of the reliable mix, so genset efficiency still matters for off-grid Philippine plants like those in this thesis.

14. Performance Analysis of a Hybrid Diesel – Renewable Energy (RE) Electrical System in Cuyo Island, Palawan, Philippines (2022). Jonathan C. Pacaldo; Michael Lochinvar S. Abundo; Luzvisminda M. Bellotindos; Carlito S. Baco Jr. https://doi.org/10.55057/ijarei.2022.4.1.1 HOMER Pro is used to compare diesel and renewable hybrids for Cuyo Island, Palawan, on cost of energy, renewable share, and emissions. The preferred case reported is a diesel-wind hybrid. As a Palawan diesel-island case, it anchors this thesis’s plant setting before RobustSTL and generalized ESD anomaly testing.

15. The Viability of Providing 24-Hour Electricity Access to Off-Grid Island Communities in the Philippines (2021). Lorafe Lozano; Edward M. Querikiol; Evelyn B. Taboada. https://doi.org/10.3390/en14206797 The study tests whether 24-hour supply on Philippine off-grid islands is viable for both the operator and the households, combining system design and cost with effects on consumers. Continuous diesel-backed service is the operating condition under which this thesis treats efficiency anomalies as operationally costly for NPC-SPUG-type plants.

Review of Related Studies (RRS/s)

Foreign Studies

16. Hourly Power Consumption Forecasting Using RobustSTL and TCN (2022). Chih-Hsueh Lin; Ulin Nuha; Guang-Zhi Lin; Tsair-Fwu Lee. https://doi.org/10.3390/app12094331 The study forecasts hourly power use by decomposing the series with RobustSTL, then feeding trend, season, and remainder into a temporal convolutional network. It demonstrates RobustSTL remainder extraction on power data, the same decomposition family this thesis uses before generalized ESD.

17. Anomaly Detection Model of Power Grid Data Based on STL Decomposition (2021). Cuicui Zhang; Jiali Sun; Ruixuan Lu; Peng Wang. https://doi.org/10.1109/itnec52019.2021.9587107 Power-grid series are decomposed with STL, and the residual is tested for anomalies. Experiments check that the residual test can flag abnormal grid data. That STL-then-residual pattern matches this thesis’s RobustSTL plus generalized ESD design for genset efficiency series.

18. Increasing the Efficiency of a Diesel-Generator Power Plant (2020). Олег Станиславович Хватов; Dmitry Sergeevich Kobyakov. https://doi.org/10.3103/s106837122012007x The study simulates a plant that pairs a conventional diesel-generator set with a variable-speed set, an active rectifier, an inverter, and buffer storage, and runs load-switching cases in MATLAB/Simulink. It treats diesel-genset efficiency under changing load as the performance object this thesis seeks to monitor for fault-linked anomalies.

19. Significant Increase in Fuel Efficiency of Diesel Generators with Lithium-Ion Batteries Documented by Economic Analysis (2021). Vedat Kıray; Mehmet Orhan; John Nwankwo Chijioke. https://doi.org/10.3390/en14216904 A MATLAB model of a 457 kW diesel generator is run with and without a lithium-ion battery, and fuel use is compared. Those fuel-efficiency shifts under different operating setups reinforce why this thesis treats efficiency time series as a useful anomaly signal for diesel gensets.

20. Comparing Outlier Detection Methods using Boxplot Generalized Extreme Studentized Deviate and Sequential Fences (2022). Anwar Fitrianto; Wan Zuki Azman Wan Muhamad; Suliana Kriswan; Budi Susetyo. https://doi.org/10.13170/aijst.11.1.23809 The study compares the boxplot rule, generalized ESD, and sequential fences on a published dataset after outliers are planted at the extremes. Sequential fences found the planted outliers more successfully than generalized ESD in that test. The comparison informs how this thesis should apply and interpret generalized ESD on RobustSTL residuals.